|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Lot3** | **Mini-grid** | **Reference** | **Quantity** | **Unit** |
|  | Marking tape type Electape ( rolls ) | <https://www.dropbox.com/scl/fi/o69ogkeg5wx8l8mkkp73j/10921955_1_P_PROD_SPEC_technicalsheet20000undergroundmarkingtapewarningelectricalcablebeloworange500mx150mmx008mmaubiz351065.pdf?rlkey=asd0zo7f41dhyk0uh7ycaorj2&st=ffss9vom&dl=0> | 11,100 | Meter |
|  | LV **Distribution** Pillar & Base | <https://plp.com/au/energy/underground/urd-turret-series-eleven> |   |   |
|  | URD Turret - series Eleven - High density injection moulded polyethylene turrets and bases including 4D Head bolts | <https://www.dropbox.com/scl/fi/2j1dkg37xftoy3ulgihim/product_388.pdf?rlkey=b63y4zsdyn71ngqid58kmj6u3&dl=0> |   |   |
|  | UT11G  |  | 80 | u |
|  | UEC11MGE |  | 80 | u |
|  | LV **Service** Pillar & Base |   |   |   |
|  | URD Turret - series Eleven - High density injection moulded polyethylene turrets and bases including 4D Head bolts |   |   |   |
|  | UT11SG  |  | 80 | u |
|  | UEC11MGE |  | 80 | u |
|  | S-Bar Spanner - Long - 780mm long tool for all DHB D head bolts | <https://www.dropbox.com/scl/fi/zk6gr0lv89xw4yisifirn/urdv.pdf?rlkey=0zlozb7lzo98hgd5capoub0yb&dl=0> | 6 | u |
|  | LV Termination Shrouds Types SHDL 90 | <https://www.dropbox.com/scl/fi/czif69eghg28rfk5n7kpo/underground.pdf?rlkey=qgy0w2pr2d4401t47kgrw4rey&dl=0> | 500 | u |
|  | Terminal Lugs, bolts, nuts, washers |   |   |   |
|  | Suitable for AWG 4/0 copper - Lugs - bolts/nuts/washers  |  | 500 | u |
|  | Suitable for AWG 2 copper - Lugs - bolts/nuts/washers  |  | 400 | u |
|  | Service Terminal Blocks - Fully insulated 6 hole tunnel connectors | <https://www.cabac.com.au/p/electrical-power-connectivity/pillars-terminations-accessories/pillar-terminations/tb506> | 160 | u |
|  | Earth Stakes for LV Distribution Pillars | CER1314, Earth rod domestic 1300MM X 14MM  | 150 | u |